|  | - SUPPLEMENT Devices |
| --- | --- |

PURPOSE and INSTRUCTIONS

- This form is a supplement to IRB applications that are submitted through the Zipline IRB application system.

- Answer the questions for the device. If you are using more than one device, copy and paste the table for each device or complete another supplement. To copy the table, hover your cursor in the upper left-hand corner above “Questions”. Click on the four-headed arrow that appears. Right-click and select, “Copy”. Go to the end of the form, add a few spaces, right-click and select, “Paste”.

- Click a box to “check” it and an “X” will appear.

- To answer a text box question, type or paste content where it says, “Click or tap here to enter text.”

- Upload the completed Supplement to your Zipline application on the Study Related Documents SmartForm for multi-site studies or the Local Site Documents SmartForm for single-site studies.

| Study Title: | Click or tap here to enter text. |
| --- | --- |

QUESTIONS

1.  Device name. What is the name of the device?

Click or tap here to enter text.

2.  Device description. Provide a brief description of the device, including what the subject may experience when completing research procedures with this device. Upload a picture/image (if available) and a brochure/other information, such as the product labeling/device instructions, a description of the purpose and operations of the device, and a risk determination from the FDA and/or sponsor.

Click or tap here to enter text.

3.  Implanted devices. Is this a device that will be implanted in the participants?

☐ No

☐ Yes → 3.1 Who will implant the device?

Click or tap here to enter text.

3.2 Has this person had any experience or training with implanting this device?

☐ Yes → Describe the relevant training and/or experience.

Click or tap here to enter text.

☐ No → Describe the qualifications that make this person appropriate for doing the implantation.

Click or tap here to enter text.

3.3 What facility will be used for the device implantation procedures? (e.g., Harborview OR)

Click or tap here to enter text.

3.4 Will the device be removed as part of the study (e.g., when the study has been completed)?

☐ Yes

☐ No → Describe how you will handle a situation, if one arises, that requires the removal of the device: (a) during the study; and (b) after the study has been completed.

Click or tap here to enter text.

Who will pay for the removal and any follow-up?

Click or tap here to enter text.

4.  	Source of the device. Who is providing you with the device for this research use?

☐ Commercial manufacturer (such as device company). Name and/or describe:

Click or tap here to enter text.

☐ A noncommercial manufacturer (such as a research lab – your own or someone else’s) or a nonprofit that is making it (e.g., PATH). Describe who, where, how, and when:

Click or tap here to enter text.

☐ Other. Describe who, where, how, and when:

Click or tap here to enter text.

5. 	Assessment of risks. Describe how you developed your understanding of the risks of using the device for the purpose  and in this population.

Examples: literature search from 1970 through the present; investigator brochure provided by the manufacturer. Note that the IRB may require you to provide citations for any literature you reviewed.

Click or tap here to enter text.

6.  FDA Status. Skip this question if the study does not intend to develop information about a device to be submitted to or held for inspection by the FDA per Zipline Study Scope Q.3 because the study is most likely not FDA regulated.

For FDA regulated research involving use of a medical device, an Investigational Device Exemption (IDE) must be submitted to the FDA for approval prior to conducting the research. There are two exceptions to this requirement: (1) when the research fits into one of the categories of research that the FDA has deemed to be IDE Exempt; and (2) when the research qualifies for an Abbreviated IDE because it is a Nonsignificant Risk Device. Refer to the WORKSHEET FDA Devices and the IDE Requirement for more detailed information about these exceptions.

6.1 	IDE. Does this research already have an IDE?

☐ No

☐ Yes  → Attach any documentation from the FDA and skip to Question 7

6.2 	IDE Exempt research. Indicate below if the research fits into any categories that are exempt from the IDE requirement. If it does, skip to Question 7.

☐ The device is approved/marketed and will be used/investigated in accordance with its labeling.

☐ The device is a diagnostic device that involves noninvasive testing and will be used with confirmation by another established device/product/procedure.

☐ The device is not being evaluated for safety or effectiveness and does not put subjects at risk.

☐ The device is a custom device that is not generally available or used. It is intended to be made for a specific patient, or to meet the special needs of a physician or dentist.

☐ The FDA has determined that an IDE is not required for use of the device. (Attach documentation from the FDA).

6.3	Research that qualifies for an Abbreviated IDE. The sponsor is responsible for making the initial determination about whether a device qualifies as Nonsignificant Risk (NSR) and presenting this to the IRB. The IRB then makes the final determination unless the FDA has made a determination. If the FDA has made a determination, this is accepted by the IRB.

In this case “sponsor” does not necessarily mean the funding agency or organization. Instead, it is defined by the FDA as the “persons, company, organization, or other entity that initiates and takes responsibility for a clinical investigation using an FDA regulated item.”

6.3.1	Has the FDA made a determination that the device is Nonsignificant Risk?

☐ No

☐ Yes  → Attach documentation/letter from FDA and skip to Question 7

6.3.2	Has the sponsor made a determination that the device is Nonsignificant Risk?

☐ No

☐ Yes  → Attach documentation from sponsor (if any) or provide a rationale for this determination below.

Click or tap here to enter text.

6.3.3	If seeking a Nonsignificant Risk (NSR) determination from the IRB, confirm that you will comply with the following FDA abbreviated IDE requirements:

- Banned device. The device is not a banned device under 21 CFR 895.

- Labeling. The device will be labeled in accordance with 21 CFR 812.5 and bear the statement, “Caution – Investigational Device. Limited by Federal (or United States) law to investigational use.”

- Monitoring. The sponsor will comply with FDA monitoring requirements at 21 CFR 812.46.

- Records and reports. The sponsor and Investigator will comply with FDA requirements for records and reports at 21 CFR 812.140 and 21 CFR 812.150(b).

- Prohibitions. The sponsor will comply with the prohibitions in 21 CFR 812.7 against promotion and other practices.

☐ Confirmed

7. 	Disinfection. If the same device will be used on more than one subject, confirm by checking the box below that the device will be disinfected between subjects, if applicable.

☐ Confirmed

☐ N/A → The device will not be used on more than one subject.

8.  	Safety testing. Describe the safety testing (if any) that has been performed on this device, if the device does not already have FDA approval.

Click or tap here to enter text.

9.  	Adjustment/changes. Do you anticipate that the device will require adjustments or changes?

☐ 	No

☐ Yes →  9.1   Describe the nature of the adjustments/changes, their purpose, and the possible impact of the risks and benefits of the device.

Click or tap here to enter text.

9.2  	Will representatives from the device manufacturer: (1) participate in or advise on the adjustments/changes; or (2) will they be present during the study procedures?

☐ No

☐ Yes  → Describe their role:

Click or tap here to enter text.

10.  Device controls. For research involving a device conducted under an IDE, the research team is responsible for ensuring appropriate storage, tracking, and return/disposal of the device.

Device controls must ensure that: (1) only authorized investigators will use the device; (2) they will use the device only for subjects who have provided consent; and (3) there will be documented tracking of each device, including dates of receipt, the batch number or code mark, unique identifiers such as serial numbers, the names of all persons who received, used, or disposed of each device.

Use the text box to describe your plan for storage, tracking, and return/disposal of the device:

Click or tap here to enter text.

11. 	Medicare reimbursement. If the researcher has an IDE or Humanitarian Device Exception (HDE), into which Medicare reimbursement category has the device been classified? This is often indicated in the IDE approval letter from the FDA to the sponsor.

☐ Category A - Experimental

☐ Category B – Investigational, nonexperimental

☐ Not yet classified

12. Device manufacturer tracking. Is the FDA requiring the device manufacturer to track this device? In general, this is required for devices: (1) which are intended to be implanted in the human body for more than one year; or (2) which is a life sustaining or life supporting device used outside a device user facility; or (3) the failure of which would be reasonably likely to have serious adverse health consequences. When tracking is required, it must be performed for the useful life of the device, or until the device is returned, destroyed, explanted, or the patient dies. Refer to the FDA Guidance Medical Device Tracking.

☐ No

☐ Yes  → Describe your procedures for tracking subjects and the device. Your procedures (and the consent form) should allow for the FDA’s recognition that patients may refuse to have their device(s) tracked.

Click or tap here to enter text.

13. Humanitarian Use Device (HUD) billing and compliance. Confirm by checking the box below that you will contact UW Medicine Compliance (206-543-3098; comply@uw.edu) to discuss the unique billing and compliance considerations associated with use of HUDs.

☐ Confirmed

☐ N/A → Not a HUD

Keywords: Device; FDA