|  | WORKSHEET FDA Devices and the IDE Requirement |
| --- | --- |

1 PURPOSE AND APPLICABILITY

It is not required that this worksheet be completed or retained. It should be used as a tool for providing information and support for individuals assessing whether an FDA-regulated study needs an IDE from the FDA before conducting the research. If the use of the device is not exempt from the IDE requirement (section 2) and does not have an abbreviated IDE (section 3), researchers must obtain an IDE approval from the FDA to do the research.

In order to qualify for an abbreviated IDE, the convened IRB must determine that the device is “non-significant risk”. To make this determination, the IRB should use: (1) the criteria in section 3 of this worksheet; (2) the SOP FDA-Regulated Research; and (3) the FDA guidance, “Significant Risk and Nonsignificant Risk Medical Device Studies”.

If a “significant risk” determination is made, the device does not qualify for an abbreviated IDE and the researchers must obtain IDE approval from the FDA. See SOP FDA-Regulated Research for information about documenting and communicating this determination.

- IS THE USE EXEMPT FROM THE IDE REQUIREMENT?

The use of the device for the study is IDE exempt and does not require an abbreviated IDE (section 3) or IDE approval from the FDA, if all the criteria in any one category listed in the table below are met.

If the study does not meet criteria for any category, proceed to section 3.

| Category 1 – Legally Marketed Device | Met |
| --- | --- |
| The device is FDA-approved/cleared - In addition to devices that have standard FDA approval, this includes devices cleared for marketing under Premarket Notification 510(k) based on equivalence to another cleared device, and devices that are 501(k) exempt. | ☐ |
| The device being used or investigated in accordance with the indications in the FDA approved/cleared labeling. | ☐ |
| Category 2 – Diagnostic Device | Met |
| The device is a diagnostic device | ☐ |
| The testing is non-invasive - Blood sampling that involves venipuncture is considered non-invasive for this purpose. The use of surplus samples of body fluids or tissues that are leftover from samples taken for non-investigational purposes is also considered non-invasive. | ☐ |
| The testing does not require an invasive sampling procedure that presents significant risk. | ☐ |
| The testing does not by design or intention introduce energy into a subject. | ☐ |
| The testing is not used as a diagnostic procedure without confirmation by another, medically established product or procedure. | ☐ |
| The sponsor will comply with applicable requirements (21 CFR 809.10(c)) about labeling of in vitro diagnostic (IVD) products. - If this is not applicable because the device is not an IVD, check the box. | ☐ |
| Category 3 – Not Being Evaluated for Safety or Effectiveness | Met |
| The research involves the device undergoing consumer preference testing, testing of a modification, or testing of a combination of two or more devices in commercial distribution. | ☐ |
| The testing is not for the purpose of determining safety or effectiveness. | ☐ |
| The testing does not put subjects at risk. | ☐ |
| Category 4 – Custom Device Not Being Evaluated for Safety or Effectiveness for Commercial Distribution | Met |
| The device is a custom device that: - Necessarily deviates from devices generally available or from an applicable performance standard or pre-market approval requirement in order to comply with the order of an individual physician or dentist -and- - Is not generally available to, or generally used by, other physicians or dentists -and- - Is not generally available in finished form for purchase or for dispensing upon prescription -and- - Is not offered for commercial distribution through labeling or advertising -and- - One or both of the following: - Is intended for use by an individual patient named in the order of a physician or dentist, and is to be made in a specific form for that patient -or- - Is intended to meet the special needs of the physician or dentist in the course of professional practice | ☐ |
| The device is not being used to determine safety or effectiveness for commercial distribution. | ☐ |
| Category 5 – FDA Determination | Met |
| The FDA has provided a documented determination that an IDE is not required for this use of the device. | ☐ |

- DOES THE USE QUALIFY FOR AN ABBREVIATED IDE

A non-significant risk investigational device study requires only IRB approval prior to starting the study and does not require the submission of an IDE application to the FDA for approval. Instead of calling these studies “exempt”, the FDA considers them to have an approved IDE. This is also known as an abbreviated IDE.  To qualify for an abbreviated IDE all of the criteria in the table below must be met.

If the study does not meet the criteria for an abbreviated IDE, an IDE application must be submitted to the FDA for approval to conduct the research.

| Abbreviated IDE Criteria | Met |
| --- | --- |
| The device is not banned by the FDA. | ☐ |
| The convened IRB must determine that the device is not a significant risk device. The risk determination is based on the proposed use of a device in an investigation, and not on the device alone. The IRB should use the SOP FDA Regulated Research and the FDA guidance, “Significant Risk and Nonsignificant Risk Medical Device Studies”. In order to make a “non-significant risk" determination, all five boxes in this section must be checked. |  |
| - It is not intended as an implant and does not present a potential for serious risk to the health, safety, or welfare of a subject. | ☐ |
| - It is not purported or represented to be for a use in supporting or sustaining human life and does not present a potential for serious risk to the health, safety, or welfare of a subject. | ☐ |
| - It is not for a use of substantial importance in diagnosing, curing, mitigating, or treating disease, or otherwise preventing impairment of human health and does not present a potential for serious risk to the health, safety, or welfare of a subject. | ☐ |
| - It does not otherwise present a potential for serious risk to the health, safety, or welfare of a subject. | ☐ |
| - The FDA has not determined it is “significant risk”. | ☐ |
| The device is labeled by the sponsor in accord with FDA regulations (21 CFR 812.5) and must bear the statement “Caution – Investigational Device. Limited by Federal (or United States) law to investigational use.” | ☐ |
| The sponsor will comply with FDA requirements for monitoring investigations (21 CFR 812.46). | ☐ |
| The sponsor and investigator will comply with FDA requirements for records and reports (21 CFR 812.140, 21 CFR 812.150). | ☐ |
| The sponsor will not market, promote, commercialize, or misrepresent the device (21 CFR 812.7). | ☐ |

4 RELATED MATERIALS

SOP FDA-Regulated Research

5 REGULATORY REFERENCES

FDA Guidance, “FDA Decisions for Investigational Device Exemption Clinical Investigations” August, 2014

FDA Information Sheet Guidance, “Frequently Asked Questions About Medical Devices” January, 2006

FDA Information Sheet Guidance, “Significant Risk and Nonsignificant Risk Medical Device Studies” January 2006

| Version Number | Posted Date | Implementation Date | Summary of Changes |
| --- | --- | --- | --- |
| 2.0 | 06.30.2022 | 06.30.2022 | Transfer content to TEMPLATE Worksheet; combine IDE worksheet and device risk worksheet into one; revise and reorganize content clarify the process for determining when a researcher must obtain IDE approval from the FDA |
| 1.2 | 09.25.2015 | 09.25.2015 | Clarifications to IDE exempt categories 1 and 2 |
| Previous versions |  |  | Previous versions are beyond records retention requirements. |

Keywords: Device; FDA